## Linearity-1
Linearity
| Reference Value | Average Reading | Average Bias
| 12 | 11.98 | -0.02
| 14 | 13.99 | -0.01
| 16 | 16 | 0
| 18 | 18.01 | 0.01
| 20 | 20.02 | 0.02

## Bias
Gage Bias
|  |  |  | Given a process standard deviation of σ, bias as a percent of process variation (6σ) is: |  |  | 100.1 | 100.6 | 101.5 | 101.6 | 101.8
Reference Value = | 100.3 |  | Data |  |  |  | 101.9 | 100.2 | 100.8 | 101.3 | 100
Average = | 100.9167 |  | 100.1 |  |  |  | 101 | 101.1 | 102 | 100.5 | 100.7
Sample Standard Deviation = | 0.58727 |  | 101.9 |  |  |  | 100.2 | 101.6 | 100.9 | 100.6 | 100.4
Significance = | 10% |  | 101 |  |  |  | 100.6 | 100.8 | 100.5 | 101 | 100
t Critical = | 1.6991 | *** | 100.2 |  |  |  | 101.5 | 101.4 | 101.3 | 100.3 | 101.3
t Computed = | 5.7514 | *** | 100.6
Bias = | 0.61667 | *** | 101.5
100.6
100.2
|  | *** | 101.1 | Given a tolerance (Upper specification - Lower specification) of T, bias as a percent of process tolerance is:
101.6
|  |  | 100.8 |  |  | ***
|  |  | 101.4 |  |  | https://www.sjsu.edu/faculty/gerstman/StatPrimer/t-table.pdf
|  |  | 101.5 |  |  | Search for row = 29 and column = 0.10
|  |  | 100.8 |  |  | Using a significance level of a = 0.1, with 29 degrees of freedom (30 -1), the critical values with the Excel function
|  |  | 102 |  |  | of the t-distribution are 1.699 and -1.699. These values can be found
|  |  | 100.9 |  |  | 1.6991
|  |  | 100.5 |  |  | Since the computed t-statistic does not fall between the critical values, the bias is significant, and the
|  |  | 101.3 |  |  | possible, the scale should be adjusted to yield a bias of zero.
101.6
|  |  | 101.3 | The significance of the bias is determined using a t-test. The test hypotheses are:
|  |  | 100.5 | Ho: m = t | H1: m does not equal t
|  |  | 100.6 | The test statistic is:
|  |  | 101 |  | ***
100.3
101.8
100
|  |  | 100.7 |  |  | ***
100.4
100
101.3

## Repeatability & Reproducibility
Part | Operator | [5 empty] | Source of Variation | Sum of Squares | Degrees of Freedom | Mean Square | F
| A |  | B |  | C |  | Appraiser | SSA | a-1 | MSA = SSA/(a-1) | F = MSA/MSE
| Trial 1 | Trial 2 | Trial 1 | Trial 2 | Trial 1 | Trial 2 | Parts | SSB | b-1 | MSB = SSB/(b-1) | F = MSB/MSE
1 | 65.2 | 60.1 | 62.9 | 56.3 | 71.6 | 60.6 | Interaction (Appraiser, Parts) | SSAB | (a-1)(b-1) | MSAB = SSAB/((a-1)(b-1)) | F = MSAB/MSE |  |  | Appraiser | Sum | Sum Squared | Sum Squared/(b*n)
2 | 85.8 | 86.3 | 85.7 | 80.5 | 92 | 87.4 | [7 empty] | A | 1710.2 | 2924784.04 | 146239.202
3 | 100.2 | 94.8 | 100.1 | 94.5 | 107.3 | 104.4 | Gage (Error) | SSE | ab(n-1) | MSE = SSE/(ab(n-1)) |  |  |  | B | 1657.7 | 2747969.29 | 137398.4645
4 | 85 | 95.1 | 84.8 | 90.3 | 92.3 | 94.6 | Total | TSS | N-1 |  |  |  |  | C | 1798 | 3232804 | 161640.2
5 | 54.7 | 65.8 | 51.7 | 60 | 58.9 | 67.2 | [9 empty] | Total | 445277.8665
6 | 98.7 | 90.2 | 92.7 | 87.2 | 98.9 | 93.5 | 3 | a = number of appraisers, (here a = 3)
7 | 94.5 | 94.5 | 91 | 93.4 | 95.4 | 103.3 | 10 | b = number parts, (here b = 10)
8 | 87.2 | 82.4 | 83.9 | 78.8 | 93 | 85.8 | 2 | n = the number of trials (here n = 2)
9 | 82.4 | 82.2 | 80.7 | 80.3 | 87.9 | 88.1 | 60 | N = total number of readings (abn) (here a * b * n = 3 * 10 * 2 = 60)
10 | 100.2 | 104.9 | 99.7 | 103.2 | 104.3 | 111.5
[7 empty] | Source of Variation | Sum of Squares | Degrees of Freedom | Mean Square | F | Significance
[7 empty] | Appraiser | 502.4863 | 2 | 251.2432 | 13.784 | 5.7e-05
Part | Operator | [5 empty] | Parts | 11545.4915 | 9 | 1282.8324 | 70.3802 | 0 |  | Part | Sum | Sum Squared | Sum Squared/(a*n)
| A |  | B |  | C |  | Interaction (Appraiser, Parts) | 35.617 | 18 | 1.9787 | 0.10856 | 1 |  | 1 | 376.7 | 141902.89 | 23650.4817
| Trial 1^2 | Trial 2^2 | Trial 1^2 | Trial 2^2 | Trial 1^2 | Trial 2^2 | Gage (Error) | 546.815 | 30 | 18.2272 |  |  |  | 2 | 517.7 | 268013.29 | 44668.8817
1 | 4251.04 | 3612.01 | 3956.41 | 3169.69 | 5126.56 | 3672.36 | Total | 12630.4098 | 59 |  |  |  |  | 3 | 601.3 | 361561.69 | 60260.2817
2 | 7361.64 | 7447.69 | 7344.49 | 6480.25 | 8464 | 7638.76 | [7 empty] | 4 | 542.1 | 293872.41 | 48978.735
3 | 10040.04 | 8987.04 | 10020.01 | 8930.25 | 11513.29 | 10899.36 | [7 empty] | 5 | 358.3 | 128378.89 | 21396.4817
4 | 7225 | 9044.01 | 7191.04 | 8154.09 | 8519.29 | 8949.16 | Source of Variation | Sum of Squares | Degrees of Freedom | Mean Square | F | Significance |  | 6 | 561.2 | 314945.44 | 52490.9067
5 | 2992.09 | 4329.64 | 2672.89 | 3600 | 3469.21 | 4515.84 | Appraiser | 502.5 | 2 | 251.3 | 13.8 | 5.7e-05 |  | 7 | 572.1 | 327298.41 | 54549.735
6 | 9741.69 | 8136.04 | 8593.29 | 7603.84 | 9781.21 | 8742.25 | Parts | 11545.5 | 9 | 1282.8 | 70.4 | 0 |  | 8 | 511.1 | 261223.21 | 43537.2017
7 | 8930.25 | 8930.25 | 8281 | 8723.56 | 9101.16 | 10670.89 | Interaction (Appraiser, Parts) | 35.6 | 18 | 1.98 | 0.11 | 1 |  | 9 | 501.6 | 251602.56 | 41933.76
8 | 7603.84 | 6789.76 | 7039.21 | 6209.44 | 8649 | 7361.64 | Gage (Error) | 546.8 | 30 | 18.2 |  |  |  | 10 | 623.8 | 389126.44 | 64854.4067
9 | 6789.76 | 6756.84 | 6512.49 | 6448.09 | 7726.41 | 7761.61 | Total | 12630.4 | 59 | 214.1 | [5 empty] | Total | 456320.8717
10 | 10040.04 | 11004.01 | 9940.09 | 10650.24 | 10878.49 | 12432.25
[9 empty] | Repeatability = | 21.987 |  |  | Part | Appraiser | Sum | Sum Squared | Sum Squared/n
[13 empty] | 1 | A | 125.3 | 15700.09 | 7850.045
[13 empty] | 2 | A | 172.1 | 29618.41 | 14809.205
[13 empty] | 3 | A | 195 | 38025 | 19012.5
[13 empty] | 4 | A | 180.1 | 32436.01 | 16218.005
[13 empty] | 5 | A | 120.5 | 14520.25 | 7260.125
[9 empty] | Reproducibility = | 18.1812 |  |  | 6 | A | 188.9 | 35683.21 | 17841.605
[13 empty] | 7 | A | 189 | 35721 | 17860.5
[9 empty] | The interaction between the appraisers and the parts is: |  |  |  | 8 | A | 169.6 | 28764.16 | 14382.08
[13 empty] | 9 | A | 164.6 | 27093.16 | 13546.58
[13 empty] | 10 | A | 205.1 | 42066.01 | 21033.005
[13 empty] | 1 | B | 119.2 | 14208.64 | 7104.32
[13 empty] | 2 | B | 166.2 | 27622.44 | 13811.22
[9 empty] | Interaction = | #NUM! |  |  | 3 | B | 194.6 | 37869.16 | 18934.58
[13 empty] | 4 | B | 175.1 | 30660.01 | 15330.005
[9 empty] | The measurement system repeatability and reproducibility is: |  |  |  | 5 | B | 111.7 | 12476.89 | 6238.445
[13 empty] | 6 | B | 179.9 | 32364.01 | 16182.005
[13 empty] | 7 | B | 184.4 | 34003.36 | 17001.68
[13 empty] | 8 | B | 162.7 | 26471.29 | 13235.645
[9 empty] | R & R = | 28.5304 |  |  | 9 | B | 161 | 25921 | 12960.5
[9 empty] | The measurement system part variation is: |  |  |  | 10 | B | 202.9 | 41168.41 | 20584.205
[13 empty] | 1 | C | 132.2 | 17476.84 | 8738.42
[13 empty] | 2 | C | 179.4 | 32184.36 | 16092.18
[13 empty] | 3 | C | 211.7 | 44816.89 | 22408.445
[13 empty] | 4 | C | 186.9 | 34931.61 | 17465.805
[13 empty] | 5 | C | 126.1 | 15901.21 | 7950.605
[9 empty] | Part Variation = | 75.2456 |  |  | 6 | C | 192.4 | 37017.76 | 18508.88
[9 empty] | The total measurement system variation is: |  |  |  | 7 | C | 198.7 | 39481.69 | 19740.845
[13 empty] | 8 | C | 178.8 | 31969.44 | 15984.72
[13 empty] | 9 | C | 176 | 30976 | 15488
[13 empty] | 10 | C | 215.8 | 46569.64 | 23284.82
456858.975
[9 empty] | Total variation = | 80.4729

## Linearity-2
Linearity
[9 empty] | Reference (x) | x^2 | Bias (y) | y^2 | x * y
[9 empty] | 10 | 100 | -0.166 | 0.027556 | -1.66
| Reference (x) | Trial 1 | Trial 2 | Trial 3 | Trial 4 | Trial 5 | Bias (y) |  | 20 | 400 | -0.054 | 0.002916 | -1.08
| 10 | 9.91 | 9.71 | 9.96 | 9.69 | 9.9 | -0.166 |  | 30 | 900 | -0.016 | 0.000256 | -0.48
| 20 | 19.92 | 20.16 | 19.88 | 19.85 | 19.92 | -0.054 |  | 40 | 1600 | -0.048 | 0.002304 | -1.92
| 30 | 29.68 | 30.15 | 30.46 | 29.48 | 30.15 | -0.016 |  | 50 | 2500 | 0.01 | 0.0001 | 0.5
| 40 | 40.03 | 39.93 | 40.08 | 39.69 | 40.03 | -0.048 |  | 60 | 3600 | 0.014 | 0.000196 | 0.84
| 50 | 50.31 | 49.78 | 50.04 | 49.86 | 50.06 | 0.01 |  | 70 | 4900 | 0.06 | 0.0036 | 4.2
| 60 | 60.58 | 59.34 | 59.61 | 59.88 | 60.66 | 0.014 |  | 80 | 6400 | 0.048 | 0.002304 | 3.84
| 70 | 70.14 | 69.93 | 69.52 | 69.86 | 70.85 | 0.06 |  | 90 | 8100 | 0.124 | 0.015376 | 11.16
| 80 | 79.1 | 79.93 | 79.83 | 80.78 | 80.6 | 0.048 |  | 100 | 10000 | 0.146 | 0.021316 | 14.6
| 90 | 89.4 | 89.4 | 90.47 | 89.96 | 91.39 | 0.124 | Total = | 550 | 38500 | 0.118 | 0.075924 | 30
| 100 | 100.91 | 99.49 | 100.24 | 100.67 | 99.42 | 0.146
Process SD = | 0.03 |  |  | The bias at any point can be estimate from the slope and the y-intercept, yo of the best-fit line.
Slope (b) = | 0.0028497 | 0.0028497 |  | B = yo + bx
y-intercept (yo)= | -0.14493 | -0.14493
%Linearity = | 0.285% | 0.285%
Linearity = | 8.5491e-05 | 8.5491e-05
n = | 10